CHEMISTRY LAB EQUIPMENT

| Basic Use | Piece of Equipment | Basic Use | Piece of Equipment |
| --- | --- | --- | --- |
| Used to make accurate measurements of liquid volumes. The bumper ring on larger cylinders is to prevent breakage if tipped over. Keep it near the top. | Graduated cylinder | The Erlenmeyer flask is the most common flask in the CHS chemistry lab. It is used to contain reaction solutions. | Erlenmeyer flask |
| Ring stands are used to hold glassware in place during an experimental procedure. | Ring Stand | Beakers are the most versatile glassware in the lab and can be used for just about anything. The volume graduations on beakers should be used only for "ballpark" estimates. | Beaker |
| Used to transfer solids from their original container to a scale for weighing. | Scoopula | Used for basic measuring of temperature. The thermometers we use for our experiments typically have an accuracy of ( 0.1 (C | Thermometer |
| This dish is used to recover dissolved solids by evaporation. While it can be heated, it should not be used for "strong" heating. | Evaporating dish | A watch glass can be used like an evaporating dish for very small amounts of liquid. It can also be used to cover beakers. | Watch glass |
| When attached to the ring stand, this iron ring is used to support glassware above the lab table. | Support ring | When attached to the ring stand, this clamp is used to hold a large test tube or Florence flask above the lab table. | Utility clamp |
| Crucibles are used as a container when something requires "strong" heating. | Crucible and cover | These tongs are used for picking up crucibles and crucible covers only. | Crucible tongs |
| Used as a support for beakers when placed across a support ring. | Wire gauze | Used for rinsing solids out of a container when filtering. | Wash bottle |
| When lined with filter paper, used to filter suspended solids from a liquid. | Funnel | Used to hold test tubes for short periods of "gentle" heating. | Test tube holder |